## Usage Log
REFRIGERANT USAGE LOG
Organization / Facility: [Enter Name] ¦ Department: [Enter Department] ¦ Log Period: [YYYY – YYYY]
▶ Enter each refrigerant usage event in a new row. Date, Refrigerant Type, and Qty are required. Columns I (Fiscal Year) uses an auto-formula — do not overwrite.
⚠ EPA §608: Purchases of >2 lbs require records. Venting is prohibited. Retain records ≥ 3 years. Technicians must hold current EPA 608 certification.
Date | Refrigerant Type | Qty (lbs) | Facility / Site | Building / Unit / Asset | Technician Name | EPA 608 Cert # | Action Type | Fiscal Year (Auto) | Notes / Work Order
[Date] | R410A | [lbs] | [Site Name] | [Bldg / Unit] | [Tech Name] | [Cert #] | Charge |  | [Work order or notes]
[Date] | R22 | [lbs] | [Site Name] | [Bldg / Unit] | [Tech Name] | [Cert #] | Recovery |  | [Work order or notes]

## Dashboard
REFRIGERANT USAGE DASHBOARD
Auto-calculated from Usage Log ¦ Refresh by pressing Ctrl+Alt+F9 (or open/save workbook)
Total Records | 2 | Total Usage (lbs) | 0 | Distinct Refrigerant Types | 0 | Most Recent Entry | 12/30/1899
USAGE SUMMARY BY REFRIGERANT TYPE
Refrigerant Type | Total Usage (lbs) | Record Count | % of Total
R410A | 0 | 1 | 0%
R22 | 0 | 1 | 0%
R404A | 0 | 0 | 0%
R134A | 0 | 0 | 0%
R507A | 0 | 0 | 0%
R32 | 0 | 0 | 0%
R407C | 0 | 0 | 0%
R448A | 0 | 0 | 0%
R449A | 0 | 0 | 0%
R1234yf | 0 | 0 | 0%
R1234ze | 0 | 0 | 0%
R290 | 0 | 0 | 0%
Other | 0 | 0 | 0%
TOTALS | 0 | 2 | 100%
USAGE BY YEAR
Fiscal Year | R410A (lbs) | R22 (lbs) | R404A (lbs) | R134A (lbs) | R22+Subs (lbs) | Other (lbs) | TOTAL (lbs)
FY2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FY2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FY2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FY2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FY2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ALL FY TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0
⚠ REGULATORY THRESHOLD REMINDER: EPA Section 608 requires recordkeeping when purchasing >2 lbs of refrigerant. Purchases of SUBSTITUTE refrigerants for equipment ≥50 lbs capacity exceeding 50 lbs/yr must be reported. High-GWP refrigerants (R410A, R404A, R134A) are subject to phase-down under the AIM Act (40 CFR Part 84). Consult the Regulatory Reference tab for full citations. Review totals quarterly.

## Refrigerant Reference
REFRIGERANT QUICK-REFERENCE & HAZARD GUIDE
For informational use only. Consult current SDS, EPA guidance, and a licensed professional for compliance determinations.
Refrigerant | Chemical Name / Blend | GWP (AR5) | ODP | ASHRAE Safety Class | AIM Act Status | Primary Hazards | Safe Handling Requirements | Regulatory Notes
R410A | HFC blend (R32/R125 50/50) | 2088 | 0 | A1 | Phase-down | Asphyxiant; pressurized cylinder; rapid release → frostbite; non-flammable | EPA 608 cert required; recover before service; cylinder storage upright; PPE: gloves, eye protection | AIM Act phase-down active; high-GWP HFC; 40 CFR Part 84
R22 | HCFC-22 / Chlorodifluoromethane | 1760 | 0.055 | A1 | Phased out (new) | Asphyxiant; ODS; high-pressure cylinder; frostbite on skin contact; HCl & HF formed in fire | Purchase restricted to servicing existing equipment; EPA 608 cert required; SCBAin confined space | Clean Air Act §605–608; no new R22 equip after 2010; reclaimed only
R404A | HFC blend (R125/R143a/R134a) | 3922 | 0 | A1 | Phase-down | Asphyxiant; extremely high GWP; frostbite; non-flammable | EPA 608 cert required; recovery mandatory; high-GWP substitute: use R448A/R449A where possible | AIM Act phase-down; highest-GWP common blend; sector restrictions in effect
R134a | HFC-134a / 1,1,1,2-Tetrafluoroethane | 1430 | 0 | A1 | Phase-down | Asphyxiant; moderately high GWP; frostbite; decomposes in flame | EPA 608 cert required; recover before servicing; store cylinders in cool ventilated area | AIM Act restrictions; used in chillers & automotive AC
R507A | HFC blend (R125/R143a 50/50) | 3985 | 0 | A1 | Phase-down | Asphyxiant; very high GWP; frostbite; non-flammable | EPA 608 cert required; transition to lower-GWP refrigerants recommended | AIM Act phase-down; often replaced by R448A/R449A
R32 | HFC-32 / Difluoromethane | 675 | 0 | A2L | Lower GWP option | Mildly flammable (A2L); asphyxiant; frostbite; requires ignition-source controls | Use only equipment rated for A2L; no open flames during service; leak detection recommended | EPA SNAP listed; lower GWP alternative to R410A; AIM Act compliant
R407C | HFC blend (R32/R125/R134a) | 1774 | 0 | A1 | Phase-down | Asphyxiant; high GWP; frostbite; zeotropic blend (fractionation risk) | Charge as liquid; EPA 608 cert required; do not top-off fractionated charge | Drop-in for R22 in some apps; subject to AIM Act
R448A | HFC/HFO blend (Solstice N40) | 1387 | 0 | A1 | Acceptable substitute | Asphyxiant; lower GWP than R404A; frostbite; non-flammable | EPA SNAP accepted substitute for R404A; EPA 608 cert required | EPA SNAP acceptable (commercial refrigeration); preferred over R404A
R449A | HFC/HFO blend (Opteon XP40) | 1397 | 0 | A1 | Acceptable substitute | Asphyxiant; lower GWP than R404A; frostbite; non-flammable | EPA SNAP accepted substitute for R404A; EPA 608 cert required | EPA SNAP acceptable; lower GWP alternative; preferred over R404A
R1234yf | HFO-1234yf / 2,3,3,3-Tetrafluoropropene | 4 | 0 | A2L | AIM Act compliant | Mildly flammable (A2L); ultra-low GWP; toxic decomposition (HF) in fire | Automotive use primarily; A2L protocols; fire extinguisher at workstation; PPE required | SAE J639 handling reqs; SNAP approved for automotive; very low GWP
R1234ze | HFO-1234ze / trans-1,3,3,3-Tetrafluoropropene | 7 | 0 | A2L | AIM Act compliant | Mildly flammable (A2L); ultra-low GWP; toxic decomposition products in fire | A2L handling protocols required; ventilation; no open flames; chiller application | SNAP approved; replacing R134a in chillers; very low GWP
R290 | Propane (HC-290) | 3 | 0 | A3 | AIM Act compliant | Highly flammable (A3); explosion risk; asphyxiant at high concentrations | Strictly limited charge size (<150g in self-contained equip); no ignition sources; explosion-proof tools required | SNAP approved for specific applications only; limited charge sizes mandated
GWP Key: 🔴 >2000 = Very High (phase-down priority) 🟠 501–2000 = High 🟢 ≤500 = Low / AIM Act compliant preferred ¦ ODP = Ozone Depletion Potential (0 = no ozone impact) ¦ ASHRAE A = Low toxicity ¦ 1 = Non-flammable ¦ 2L = Mildly flammable ¦ 3 = Highly flammable
ASHRAE Safety Classes — A1: Low toxicity / Non-flammable A2L: Low toxicity / Mildly flammable (low burning velocity) A2: Low toxicity / Flammable A3: Low toxicity / Highly flammable B1/B2/B3: Higher toxicity variants

## Regulatory Reference
REGULATORY REFERENCE — REFRIGERANT COMPLIANCE
For informational use only. Consult licensed professionals and current regulatory text for compliance determinations.
EPA Section 608 — Refrigerant Management
Regulation / Standard | Citation | Agency | Key Requirements | Non-Compliance Consequence
EPA Section 608 Refrigerant Management | Clean Air Act §608 40 CFR Part 82, Subpart F | U.S. EPA | • Prohibits venting of ozone-depleting and substitute refrigerants • Technicians must hold EPA 608 certification • Leak inspection required at ≥35% annual leak rate (comfort/commercial) or ≥15% (industrial) • Records required for purchases of >2 lbs: date, amount, equipment info • Recovery required before any service, repair, or disposal • Records retained minimum 3 years | Civil penalties up to $44,539 per day per violation (inflation-adjusted)
AIM Act — HFC Phase-Down
Regulation / Standard | Citation | Agency | Key Requirements | Non-Compliance Consequence
AIM Act HFC Phase-Down Program | AIM Act (Pub. L. 117-8) 40 CFR Part 84 | U.S. EPA | • Authorizes EPA to phase down production and consumption of HFCs • R410A, R404A, R134a, R507A are high-GWP HFCs subject to phase-down • Allowance system limits HFC production/import over time • Sector-specific restrictions on use of certain HFCs in new equipment • Technician certification and recordkeeping requirements extended • Monitor EPA for annual allowance and sector rule updates | Fines and loss of allowances for non-compliant purchase or use of restricted HFCs
OSHA — Hazard Communication (HazCom)
Regulation / Standard | Citation | Agency | Key Requirements | Non-Compliance Consequence
OSHA HazCom Standard | 29 CFR 1910.1200 | OSHA | • Safety Data Sheets (SDS) required for all refrigerants and must be accessible • Containers must be labeled per GHS format • Annual HazCom training required for all affected employees • Training records must be retained • Employees must understand refrigerant hazards: asphyxiation, frostbite, pressure | Citations up to $16,131 per serious violation; willful/repeat up to $161,323
DOT — Hazardous Materials Transportation
Regulation / Standard | Citation | Agency | Key Requirements | Non-Compliance Consequence
DOT Hazardous Materials Transportation | 49 CFR Parts 171–173 | DOT / PHMSA | • Refrigerant cylinders transported on public roads are regulated hazmat • Cylinders must be DOT-approved and within hydrostatic test date • Proper shipping name and UN number required on packaging/shipping papers • Quantity thresholds determine whether full Hazmat shipping papers are required • Hazmat driver training required above de minimis quantities | Civil penalties up to $82,112 per violation per day; criminal penalties for willful violations
EPA SNAP — Substitute Refrigerants
Regulation / Standard | Citation | Agency | Key Requirements | Non-Compliance Consequence
EPA SNAP Program Substitute Refrigerant Approval | 40 CFR Part 82, Subpart G | U.S. EPA | • Only EPA SNAP-listed substitutes may be used in place of regulated refrigerants • Some substitutes acceptable only under specific conditions of use • R448A and R449A listed as acceptable substitutes for R404A in many applications • R32 and HFO blends listed for specific end-uses • Consult SNAP list before selecting any drop-in or retrofit refrigerant | Use of SNAP-unacceptable refrigerant can result in Clean Air Act enforcement action
ASHRAE Standard 15 — Mechanical Refrigeration Safety
Regulation / Standard | Citation | Agency | Key Requirements | Non-Compliance Consequence
ASHRAE Standard 15 Refrigeration Safety | ASHRAE Standard 15 (current edition) | ASHRAE | • Refrigerant detectors required in machinery rooms at threshold concentrations • Adequate ventilation required for refrigerant storage and machinery rooms • Pressure relief valves required and must discharge to a safe location • Periodic inspection per manufacturer and standard requirements • Safety class of refrigerant determines machinery room requirements | Non-compliance creates liability; referenced by local building codes and AHJs
QUICK REFERENCE LINKS
EPA Section 608 Refrigerant Management |  |  | https://www.epa.gov/section608
AIM Act HFC Phase-Down Program |  |  | https://www.epa.gov/climate-hfcs-reduction
EPA SNAP Acceptable Refrigerants |  |  | https://www.epa.gov/snap/snap-regulations
OSHA HazCom Standard (29 CFR 1910.1200) |  |  | https://www.osha.gov/hazcom
DOT Hazardous Materials Regulations |  |  | https://www.phmsa.dot.gov/regulations
ASHRAE Standard 15 |  |  | https://www.ashrae.org/technical-resources/bookstore/standards-15-34

## Emergency Contacts
EMERGENCY CONTACTS — REFRIGERANT SYSTEMS
Post prominently near refrigerant systems. Verify all contacts annually. Last reviewed: [Date]
🚨 EMERGENCY RESPONSE — 24-HOUR HOTLINES
Contact / Agency | Primary Phone | Secondary Phone | Notes / Role
CHEMTREC (24-hr Chemical Emergency) | 1-800-424-9300 | 1-703-527-3887 | International/24-hr hazmat response — call immediately for chemical release
National Response Center (NRC) | 1-800-424-8802 |  | Federal spill/release reporting hotline — required for federal facilities
Poison Control Center | 1-800-222-1222 |  | Ingestion / inhalation exposure guidance
Local Fire & Hazmat | 9-1-1 | [Local non-emergency] | Structural / chemical emergency response
State Environmental Emergency Hotline | [Enter number] |  | State-level release / spill notification
🏢 FACILITY & EHS CONTACTS
Contact / Agency | Primary Phone | Secondary Phone | Notes / Role
EHS Department — Primary | [Enter Name] | [Enter Phone] | First point of contact for refrigerant incidents
EHS Department — Backup | [Enter Name] | [Enter Phone] | Secondary EHS contact
Facility Manager | [Enter Name] | [Enter Phone] | Facility-level authority
Safety Officer | [Enter Name] | [Enter Phone] | On-site safety authority
Environmental / Compliance | [Enter Name] | [Enter Phone] | Regulatory reporting and compliance oversight
🔧 HVAC CONTRACTORS & REFRIGERANT VENDORS
Contact / Agency | Primary Phone | Secondary Phone | Notes / Role
Primary HVAC Contractor | [Enter Company] | [Enter Phone] | Certified refrigerant handling — EPA Section 608
Backup HVAC / Emergency Repairs | [Enter Company] | [Enter Phone] | On-call for after-hours or emergency response
Refrigerant Supplier | [Enter Company] | [Enter Phone] | Supply, manifests, and SDS source
Refrigerant Reclaim Facility | [Enter Company] | [Enter Phone] | EPA-certified reclaimer for recovered refrigerant
🏥 MEDICAL FACILITIES
Contact / Agency | Primary Phone | Secondary Phone | Notes / Role
Nearest Emergency Department | [Enter Hospital Name] | [Enter Phone] | [Enter Address]
Occupational Health / Clinic | [Enter Clinic Name] | [Enter Phone] | On-site or nearby occupational health provider
Poison Control Center | 1-800-222-1222 |  | Exposure / ingestion guidance
⚠ Review and update all contact information at least annually or upon personnel / contractor changes. Verify numbers before an emergency. This form does not replace facility-specific emergency response plans (ERPs).

## Audit Log
AUDIT LOG — REFRIGERANT USAGE WORKBOOK
Record all changes, reviews, and approvals. Retain for minimum 3 years (EPA §608 recordkeeping requirement).
Date | Action Type | Modified By | Reviewed / Approved By | Description of Change / Note
| Workbook Created | [Your Name] | — | Initial workbook setup. Enter your organization name on Usage Log tab. Clear placeholder rows before entering real data.